## Instructions
Device Information Must be filled completely when submitting the address request. Forms cannot be processed unless the information is complete. | Building Number | Four digit number, reference the Hospital Facilities Website https://www.uofmhealth.org/our-care/clinical-units/facilities-operations/building-information
| Floor | Floor where the device is installed.
| Room Number | Room number where the device is installed.
| Device Name | Standard name for all devices, mechanical or electrical, must be unique and follow UMH’s point naming standard outlined at in Section 3 of master spec 230905 - MECHANICAL SYSTEMS CONTROLS (HOSPITAL PROJECTS).
| Manufacturer | Device manufacture,
| Model | Device model number.
| Telecom Room | For IP devices enter the floor and room number of the Telecom Room where the device is connecting to. Work with the project HITS person assigned to the project to identify the room. Enter na for non-IP devices.
Additional Device Information Must be filled completely when requesting device activation / onboarding | Firmware | Enter the firmware version of the device.
| Ethernet MAC | For IP devices enter the ethernet MAC address of the device, 12 characters in lower case or numbers without special characters.
| Installation Status | Existing: Use when existing devices are listed for reference purposes, or when an address needs to be changed or added. Pending: The device has not been installed yet. Installed: The device is installed, powered, and if a IP device, connected to the network. On-Boarded: IP device has been authorized on the network and properly inventoried. Pinging: IP device has responded to ping on the network. Delete: Use to indicate a device needs to be removed from
Addresses Requested Complete by HFAC Applications, except for existing devices | BACnet ID | Enter a question mark If the device needs a BACnet instance number or na if it doesn't.
| BACnet MSTP Network ID | If the BACnet device will communicate through MSTP enter a question mark to request a new BACnet network reserved. If adding a BACnet device to an existing MSTP network enter that network number. Otherwise enter na.
| BACnet MSTP MAC | BACnet MSTP devices must have a unique MAC address within the MSTP network. Not to be confused with ethernet MAC address above. Enter na if the device is not MSTP.
| BACnet BBMD | When a device needs to be configured as a BBMD the HFAC Applications team will indicate it here and also provide the BDT in the notes field. Each IP subnet must have a BBMD configured in the Hospital BMS network.
| IP Address | Static IP address assigned to the device.
| IP Gateway | Static IP gateway address assigned to the device.
| IP Network Mask | Static IP subnet mask address assigned to the device.
| DHCP/Static | For DHCP devices it will
| DHCP Fixed in NAC | Indicates if the DHCP IP address has been fixed to the ethernet MAC address yet.
| Onboarded NAC/MiOPS | Indicated the device class in which the devices was onboarded and if it was inventoried.

## Devices
Project Number & Title: | [9 empty] | Controls Contractor Contact:
Email completed file To: bmsIntegrationRequest@med.umich.edu Subject: BMS Address Request | [9 empty] | Controls Integrator Contact:
Email completed form to bmsIntegrationRequest@umich.edu; A question mark below indicates that information is needed for the particular device. Replace the question mark with na when not applicable.
Device Information - ALL FIELDS ARE REQUIRED | [6 empty] | Additional Device Information - Required before activation / on-boarding |  |  | Addresses Requested - Replace the ? with na if an address is not needed. To add devices to existing MSTP trunks, enter the existing BACnet MSTP Network ID
Building Number | Floor | Room Number | Device Name | Manufacturer | Model | Telecom Room | Firmware | Ethernet MAC | Installation Status | BACnet ID | BACnet MSTP Network ID | BACnet MSTP MAC | BACnet BBMD | IP Address | IP Gateway | IP Network Mask | DHCP/Static | DHCP Fixed in NAC | Onboarded NAC/MiOPS | Misc. Address | Notes
? | ? | ? | ? | ? | ? | ? | ? | ? | Pending | ? | ? | ? | No | ? | ? | ? |  |  |  | na